## Φύλλο1
ΠΙΝΑΚΑΣ ΥΛΙΚΩΝ ΚΑΙ ΤΙΜΩΝ
Note 1: N is equal to the number of the offered Engines (UNITS)
Note 2: Wherever …......, …sets, …..pcs, number to be filled in by Bider in his Offer
Description of equipment |  | No of pcs or sets | Price of material at SITE (EURO) | Price of installation, commissioning and other services (EURO) | Total item price (EURO)
I | DOCUMENTATION AND STUDIES FOR PERMITS *
* This price must not be higher than 1,5% of the Grant Total Contract Price
II | MECHANICAL EQUIPMENT
A | Engines
1 | Gas engines (complete) | N
B | Engines Auxyliary Systems
B.1 | Gas engine starting air system
1 | Air compressors | 2
2 | After coolers | 2
3 | Air receivers | N
4 | Oil and water separators | 2
5 | Final filters | 2*N
6 | Pipes, valves etc. for starting air systems of all UNITS | 1 set
7 | All other equipment and services necessary for the starting air system of UNITS not listed above | 1 set
B.2 | Air intake - Exhaust gas systems
1 | Intake air noise attenuators | ……….
2 | Intake air filters | ……….
3 | Turbochargers | ……….
4 | Charge air coolers | ……….
5 | Exhaust gas silencers | N
6 | By pass ducting, dampers, isolating valves of Exhauts gas/water Heat Exchanger | N sets
7 | By pass ducting, dampers, isolating valves of SCR (if applicable) | N sets
8 | All inlet and exhaust ducts, connections, expansion joints, insulation, covering etc. | N sets
9 | All other equipment and services necessary for the air intake systems not listed above. | 1 set
10 | All other equipment and services necessary for the exhaust gas systems not listed above. | 1 set
B.3 | Machine Hall(s) ventilation system
1 | Forced draft fans | …….
2 | Induced draft fans | ……
3 | Sound attenuators | ……..
4 | Intake air filters | ……..
5 | All other equipment and services necessary for the system not listed above. | 1 set
B.4 | Natural gas systems for Gas Engines
1 | Gas valve units complete, including flow meter | N
2 | All other piping, components and services necessary for natural gas systems not included in the above list | 1 set
B.5 | Lubricating system
1 | Main lubricating oil storage tanks | 2
2 | Main lubricating oil filling pump | 1
3 | PROJECT dirty lube oil collecting system (complete) | 1 set
4 | PROJECT temporary used lubricating oil storage system (complete) | 1 set
5 | Main lube oil feed pumps | 2
6 | Main lube oil flow meters | N
7 | Main lube oil sump tanks | N
8 | Main lub oil drain pumps | 3
9 | Main lube oil circulating pumps | 2*N
10 | Main lube oil self cleaning filters | N
11 | Main lube oil duplex final filters | N
12 | Main lube oil steam heaters | N
13 | Main lube oil separator feed pumps | N
14 | Heaters for centrifugal separators | N
15 | Main lube oil centrifugal separators | N
16 | Separator´s sludge tanks | N
17 | Separator´s sludge pumps | N
18 | Oil sludge storage tank | 1
19 | Oil sludge storage tank emptying pump | 1
20 | Emergency main lube oil systems (if applicable) | N sets
21 | Prelubricating and preheating systems | N sets
22 | Additional lubricating systems according to engine's specific system Vol. B1, part B (if applicable) | …….
23 | Pipes, valves, etc | 1 set
24 | All other equipment and services necessary for the lube oil systems not included in the above list | 1 set
B.6 | Cooling systems
1 | L.T. cooling water heat-exchangers | ……….
2 | L.T. cooling water circulating pumps | 2*N
3 | L.T. Expansion tanks | N
4 | H.T. cooling water circulating pumps | 2*N
5 | H.T. cooling heat-exchangers | ……….
6 | H.T. cooling water temp. control systems | N
7 | H.T. cooling water heaters | N
8 | H.T. Expansion tanks | N
9 | Scavenging air coolers | ……….
10 | Main lube oil coolers | N
11 | Main lube oil temp. controls | N
12 | T/C lube oil coolers (if applicable) | ……….
13 | T/C lube oil temp. controls (if applicable) | ……….
14 | Generator cooling air coolers (if applicable) | ……….
15 | Generator cooling air temp. control (if applicable) | ……….
16 | Radiators | ……….
17 | Maintenance water tank systems complete | 3 sets
18 | Additional cooling circuits according to engine's specific systems Vol. B1, part B (if applicable) | ……….
19 | All other equipment and services necessary for the cooling systems not included in the above list | 1 set
C | District Heating Thermal Energy Distribution System (DHTEDS) and District Heating Production Systems (DHPS)
C.1 | District Heating Thermal Energy Distribution System (DHTEDS)
1 | Main Hot and Main Cold district heating water headers including insulation and cladding, complete | 1 set
2 | Hot water piping including fittings, valves, blind flanges, flow meters, other instruments, insulation, cladding, etc. from the interconnection points with the electric boilers, natural gas boilers and DHPS hot water supply lines respectively to the main hot district heating water header of the DHTEDS. | 1 set
3 | Hot water piping including fittings, valves, blind flanges, flow meters, other instruments, insulation, cladding, etc. from the main hot district heating water header of the DHTEDS to the interconnection points with the hot water supply lines of the Ptolemais Pump House AK1 and Kozani Pump House E-21, respectively. | 1 set
4 | Cold district heating water piping (main, bypass, warm-up lines) including fittings, valves, blind flanges, instruments, insulation, cladding, etc. from the main cold district heating water header of the DHTEDS to the interconnection points with the electric boilers, natural gas boilers and DHPS cold water return lines, respectively. | 1 set
5 | Cold district heating water piping including fittings, valves, blind flanges, instruments, insulation, cladding, etc. from the interconnection points with the cold water return lines of the Ptolemais Pump House AK1 and Kozani Pump House E-21 respectively to the main cold water header of the DHTEDS. | 1 set
6 | All other equipment and services necessary for the DHTEDS not included in the above list | 1 set
C.2 | District Heating Production Systems (DHPS)
1 | Exhaust Gas/Water heat exchangers configuration (Main exhaust gas/water heat exchanger and possible econimizer) with casing and nevessary valves (safety, relief, motirized isolated, shut-off, drain etc.) | N sets
2 | Auxiliary water/water heat exchangers with relevant valves (motorized isolated and shut-off, drain etc.) | N sets
3 | Portable gas or water cleaning system for the tubes of Exhaust gas/water heat exchanger with relevant valves (motorized isolated and shut-off, drain etc.) | 1 set
4 | District Heating water/water heat exchangers with relevant valves (motorized isolated and shut-off and drain etc.). | N sets
5 | Hot Supply and Cold return water headers including insulation and cladding, complete. | 1 set
6 | Relevant piping of hot and cold water line connecting the hot supply and cold return water headers with District Heating water/water heat exchangers of all Units, along with flow meters, valves (motorized, control, shut-off etc.) | 1 set
7 | Closed Water Circuits of Auxiliary water/water, Exhaust gas water/water and District Heating water/water heat exchangers, with by pass line to District Heating heat exchanger, with all necessary VSD pumps, strainers, expansion tank, make-up water system, all necessary valves (regulated, shut-off etc.), pressure/temperature sensors etc. | N sets
8 | Hot District heating water piping including fittings, valves, insulation, cladding, instrumentation, etc. from supply header of DHPS up to interconnection point with DHTEDS. | 1 set
9 | Cold District heating water piping including fittings, valves, insulation, cladding, instrumentation, etc. from interconnection point with DHTEDS up to return header of DHPS. | 1 set
10 | Steel platforms for all heat exchangers along with relevant walkways and stairways | 1 set
11 | All other equipment and services necessary for the DHPS not included in the above list | 1 set
D | AUXILIARY STEAM GENERATION, DISTRIBUTION AND CONDENSATE COLLECTION SYSTEM
1 | Steam Boilers | 2
2 | Condensate Tank | 1
3 | Steam distribution system, including piping, valves, insulation, etc | 1 set
4 | Condensate system complete | 1 set
5 | Natural gas supply system | 1 set
6 | All other equipment and services necessary for the Auxiliary steam Generation, distribution and condensate collection system not included in the above list | 1 set
E | FUEL GAS SYSTEM
1 | All piping, components and services from interconnection point (1) to the gas metering system (see B1 Part E) | 1 set
2 | Gas metering system complete | 1 set
3 | Gas receiving station complete | 1 set
4 | Gas-fired water boilers complete | 2
5 | Demineralized water and hot water interconnections and piping, complete with all required components and services, to/from the gas-fired water boilers | 1 set
6 | Natural gas feed piping to the gas-fired water boilers, complete with all required components and services incl. flowmeter | 1 set
7 | Natural gas compression station complete (if applicable) | 1 set
8 | Nitrogen station(s) complete | ……….
9 | Nitrogen storage bottles | ……….
10 | Nitrogen distribution and purging piping and equipment to all natural gas lines and other nitrogen consumers | 1 set
10 | All piping, components and services from the gas receiving station to the gas valve units and to other consumers | 1 set
11 | Ventilation system complete with stacks, ducts and all other components necessary | 1 set
12 | Gas leakage detection system complete | 1 set
13 | Drainage system complete | 1 set
14 | All other piping, equipment and services necessary for the fuel gas system not listed above | 1 set
F | OTHERS
F.1 | Lifting equipment
1 | Machine Hall(s) lifting equipment | ……….
2 | Mechanical Annex lifting equipment | ……….
3 | Electrical Annex lifting equipment | ……….
4 | Radiators shelter lifting equipment (if applicable) | ……….
5 | Lifting equipment for gas valve units (if not part of F.1.1) | ……….
6 | Lifting equipment for gas engine parts washing room | ……….
7 | Lifting equipment for pump station(s) | ……….
8 | Lifting equipment for GRS area | ……….
9 | Lifting equipment for gas-fired water boilers (if applicable) | ……….
10 | Lifting equipment for HVAC main facilities (if not part of F.1.2) | ……….
11 | Lifting equipment for natural gas compression station (if applicable) | ……….
12 | Lifting equipment for nitrogen station(s) | ……….
13 | Lifting equipment for emergency diesel generator building | ……….
| Lifting equipment for steam boilers building | ……….
14 | All other lifting equipment not listed above | ……….
15 | All other equipment and services necessary for the lifting equipment system not listed above | ……….
16 | Elevator(s) (if applicable) | ……….
F.2 | HVAC
1 | Water heating systems complete | 2 sets
2 | Condensate collection system | 1 set
3 | Chilling units complete | 2 sets
4 | Hot Water circulation pumps | 2 sets
5 | Cold Water circulation pumps | 2 sets
6 | Ventilation fans | ……….
7 | Fume exhaust fans | ……….
8 | Air handling units complete with dampers, filters, coils, fans, noise attenuators (if needed), humidifiers (if needed), etc | ……….
9 | Fan coil units | ……….
10 | Split Units | ……….
11 | Air Ducts | 1 set
12 | Piping, valves, fittings, etc. | 1 set
13 | Insulation | 1 set
14 | All other equipment necessary for the HVAC systems not listed above | 1 set
F.3 | Fire fighting system
1 | Water system complete, including piping network, hydrants, deluge systems | 1 set
2 | Fixed CO2 system(s) complete | ……….
3 | Fixed foam system(s) complete | ……….
4 | Mobile foam/water systems complete | ……….
5 | Fire extinguishers | ……….
6 | All other equipment and services necessary for the Fire Fighting systems not listed above | 1 set
F.4 | Service water
1 | Complete service water network | 1 set
2 | Service water booster pumps (if applicable) | 2
3 | Service water pumps | 2
4 | Service water tank | 1
5 | Pressurized service water tank(s) | ……….
6 | All other equipment and services necessary for the service water system not listed above | 1 set
F.5 | Potable water
1 | Complete potable water network | 1 set
2 | Potable water booster pumps (if applicable) | 2
3 | Pressurized potable water tank(s) | ……….
4 | All other equipment and services necessary for the potable water system not listed above | 1 set
F.6 | Service and control air
1 | Air compressors complete | 3
2 | Service air receiver complete | 1
3 | After filters | 2
4 | Control air receivers complete | 2
5 | Air dryers complete | 2
6 | Final filters | 2
7 | Piping, valves, distribution network for sevice air system (complete) | 1 set
8 | Piping, valves, distribution network for control air system (complete) | 1 set
9 | Air hoses | ……….
10 | All other equipment and services necessary for the service and control air system not listed above | 1 set
Rest of mechanical equipment, material and services required to complete PROJECT according to the Technical Specifications
TOTAL PRICE FOR THE MECHANICAL PART OF PROJECT
III | ELECTRICAL EQUIPMENT
1. | Gas Engine (GE) Generators and accessories
1.1 | Generators complete | N
1.2 | Generators sound proof enclosure (if any) | N
1.3 | Excitation systems including AVRs | N sets
1.4 | GE Generators Neutral Earthing Transformer, Resistor and their enclosures | N sets
2. | Generator Transformers (step-up)
2.1 | Transformers complete | …..pcs
3. | Station Service Transformers
3.1 | Units Auxilaries t/fs | 2pcs
3.2 | General Auxiliaries t/fs | 2pcs
3.3 | Additional Station Service t/fs (if any) | 1 set
4. | MV Switchgear
4.1 | 10-15 kV Switchgear sections, | …..sets
complete for all connected Generators and for feeders to station service T/Fs
5. | LV Switchgear
5.1 | Units Auxiliaries Distribution (both sections) | 1 set
5.2 | GE Unit auxiliaries subdistribution | N sets
5.3 | General Auxiliaries Distribution (both sections) | 1set
5.4 | Secured bus distribution (both sections) | 1set
5.5 | 220 V DC Switchgear (both sections) | 1set
5.6 | 24 V DC Switchgear | 1set
5.7 | As many as distributions, subdistributions and local boards required, including the ones for general /common auxiliaries and peripheral installations | 1set
6. | Batteries, battery chargers and Inverters
6.1 | 220 V DC Batteries | 2sets
6.2 | 220 V DC Battery Charger | 2pcs
6.3 | 24 V DC/DC Converters | 2pcs
6.4 | Inverter including static switch and isolating t/f | 2pcs
7. | Emergency Diesel Generator Set | 1pc
8. | Steel structures at the area of the Step-up transformers for 33 kV cables supporting (if required) | ….. sets
9. | Motors and Static Frequency Converters
9.1 | LV Motors | 1 set
9.2 | Open loop actuators | 1 set
9.3 | Static frequency converters for motors (if any) | 1 set
10. | Cables and trays
10.1 | 12/20 kV insulated power cables | 1 set
10.2 | 0,6/1 kV insulated power cables | 1 set
10.3 | 0,6/1 kV insulated control, measuring and signaling cables | 1 set
10.4 | Temperature resistant and fire resistant cables | 1 set
10.5 | Cable trays, ladders, conduits etc.for all type of cables of the Project | 1 set
11. | Electrical Protection and Control System
11.1 | Protection relays for GE Generators | N sets
11.2 | Protection relays for Step-up Transformers | ….. sets
11.3 | Synchronizing equipment | N sets
12. | Indoor and outdoor grounding and lightning protection system
12.1 | Indoor grounding system | 1 set
12.2 | Outdoor grounding system | 1 set
12.3 | Foundation grounding system | 1 set
12.4 | Lightning protection of the buildings and structures | 1 set
13 | Lighting & power outlets system
13.1 | Indoor lighting system incl. portable lighting fixtures | 1 set
13.2 | Outdoor lighting system | 1 set
13.3 | Power outlets system | 1 set
13.4 | Obstruction lighting of the stack(s), if required | 1 set
13.5 | Lighting and power outlets system LV subdistributions | 1 set
14 | Fire Detection system
14.1 | Fire Alarm Control Panel(s) & PC | 1set
14.2 | Detectors, breakglass, push-buttons, sounders and flashers | 1 set
15. | Cathodic protection system | 1 set
16. | All the rest of equipment and installation materials required to complete the installation according to the Technical Specifications | 1set
TOTAL PRICE FOR THE ELECTRICAL PART OF PROJECT
IV | I & C EQUIPMENT
1. | Sensors and transmitters (binary and analog), local instruments | 1 set
2. | Analysers (water and gas) | 1 set
3. | Closed loop control actuators and power control units | 1 set
4. | Other field equipment (local control boxes, junction boxes, etc.) | 1 set
5. | Process stations
5.1 | I/O modules | 1 set
5.2 | Controllers for open and closed loop control | 1 set
5.3 | Other modules (power supply, communication modules, etc.) | 1 set
5.4 | Other equipment (cubicle enclosure, racks etc.) | 1 set
6. | Engine overspeed protection (back-up) and regulation systems (if any) | N sets
7. | Man-machine communication system
7.1 | Remote bus including switches | 1 set
7.2 | Operator/server stations | 1 set
7.3 | Engineering stations | 1 set
7.4 | Large screens | 1 set
7.5 | Other equipment (printers, furnitures, e.tc.) | 1 set
8. | Conventional Panels
8.1 | Gas Engine local control panel | N sets
8.2 | CCR conventional panel (CMP) | 1 set
9. | Package units control systems (including instrumentation) | 1 set
10. | Erection materials | 1 set
11. | Control cables | 1 set
12. | Telephone system | 1 set
13. | Public Address system | 1 set
14. | Clock system | 1 set
15. | Intergrated Security system | 1 set
16. | Rest of equipment and installation material required to complete the installation, according to the Technical Specifications | 1 set
TOTAL PRICE FOR THE I&C PART OF PROJECT
V | CHEMICAL
1 | WATER TREATMENT SYSTEMS
1.1 | Desalination System
1.1.1 | Pretreatment Pumps | 1 set
1.1.2 | Filtering System | 1 set
1.1.3 | Chemical injection systems (Coagulation, Chlorination, Dechlorination, Antiscalant, NaOH) | 1 set
1.1.4 | RO Feed booster pumps | 1 set
1.1.5 | Reverse Osmosis Membranes and Vessels | 1 set
1.1.6 | CIP System | 1 set
1.1.7 | Desalinated Water Storage Tank | 1 set
1.1.8 | Piping and Valves | 1 set
1.1.9 | All additional material/equipment not listed above, but included in this system | 1 set
1.2 | Demineralization System
1.2.1 | Feed pumps | 1 set
1.2.2 | EDI modules | 1 set
1.2.3 | Demineralized water chemical conditioning system | 1 set
1.2.4 | Ammonia dilution tank | 1 set
1.2.5 | Demineralized Water Storage Tank | 1 set
1.2.6 | All additional material/equipment not listed above, but included in this system | 1 set
2 | WATER CHEMICAL CONDITIONING (DOSING) SYSTEM
2.1 | Dosing pumps for Closed Water Circuits of DHPS | 1 set
2.2 | Dosing system for Gas Engines cooling water (portable skid) | 1 set
2.3 | Dosing system for auxilliary steam boiler | 1 set
2.4 | Any other dosing system | 1 set
2.5 | Piping and Valves | 1 set
2.6 | All additional material/equipment not listed above, but included in this system | 1 set
3 | SAMPLING SYSTEM
3.1 | Sampling system for Closed Water circuit of DHPS | 1 set
3.2 | Sampling system for hot water boiler of GRS | 1 set
3.3 | Sampling system for auxilliary steam boiler | 1 set
3.4 | Any other sampling system | 1 set
4 | PAINTING ANG ANTICORROSSION PROTECTION | 1 set
5 | WASTE WATER TREATMENT PLANT
5.1 | Chemicals storage, preparation and dosing systems | 1 set
5.2 | Oily waste water treatment system | 1 set
5.3 | Non-oily waste water treatment system | 1 set
5.4 | Piping and valves | 1 set
5.5 | All additional material/equipment not listed above, but included in this system | 1 set
6 | DENOx SYSTEMS (if applicable)
6.1 | Urea solution storage and transfer system with all related equipment (including tanks, pumps etc.) | 1 set
6.2 | SCR System
6.2.1 | Urea solution injection/mixing systems | N sets
6.2.2 | SCR reactors | N sets
6.2.3 | SCR catalysts | N sets
6.2.4 | Soot blowing systems (if applicable) | N sets
6.2.5 | All additional material/equipment not listed above, but included in this system | 1 set
7 | SELECTIVE CATALYTIC OXIDATION SYSTEMS (if applicable)
7.1 | Selective catalytic oxidation reactors | N sets
7.2 | Selective oxidation catalysts | N sets
7.3 | Soot blowing systems (if applicable) | N sets
7.4 | All additional material/equipment not listed above, but included in these systems | 1 set
TOTAL PRICE FOR THE CHEMICAL PART OF PROJECT
VI | CIVIL WORKS
1 | Earthworks - Creation of Site Levels/Landscaping | ……….
2 | Machine Hall(S) And Annexes | ……….
3 | Auxilliary Steam Boiler House | ……….
4 | Transformers Yard | ……….
5 | Stacks | ……….
6 | Radiators Shelter (if applicable) | ……….
7 | Electrical and Control Bulding | ……….
8 | Lube Oil Tanks | ……….
9 | Service Water Tank | ……….
10 | Oily And Industrial Effluents Collection Pits | ……….
11 | Urea Solution Storage And Transfer System (if applicable) | ……….
12 | Desalinated Water Storage Tank | ……….
13 | Demi Water Storage Tank | ……….
14 | Washing Room For Gas Engines Parts | ……….
15 | Pump Shelter(S) | ……….
16 | LO & Sludge Unloading Area | ……….
17 | Gas Receiving Station (GRS) Shelter | ……….
18 | Gas-Fired Water Boiler Building | ……….
19 | Roads And Pavements | ……….
20 | Trenches, Channels And Galleries For Pipes And Cables | ……….
21 | Rainwater Drainage System | ……….
22 | Industrial Waste Water Drainage System | ……….
23 | Sanitary Sewage System | ……….
24 | Fence | ……….
25 | Emergency Generator Set | ……….
26 | Water Treatment Systems Building | ……….
27 | Waste Water Treatment Systems Building | ……….
TOTAL PRICE FOR THE CIVIL WORKS OF PROJECT
VII | TESTS AT SITE (HOT COMMISSIONING, SEMI COMMERCIAL, COMMERCIAL OPERATION) **
** This price must not be less than 1,0% of the Grant Total Contract Price
VIII | SPARE PARTS
IX | SPECIAL TOOLS
X | OTHER SERVICES
GRAND TOTAL PRICE FOR PROJECT